- Cell Cycle Analysis by DNA Content (Propidium Iodide)

Solutions:

- 1X PBS (Phosphate-Buffered Saline)

- 70% Ethanol, pre-chilled at -20℃.

- PI working solution: 10 ml of 0.1% (v/v) Triton X-100 (Sigma) in 1X PBS add 2 mg DNAse-free RNAse A (Sigma) and 0.40 ml of 500 µg/ml PI

- A stock solution of PI, made by dissolving 1 mg PI in 2 ml water can be stored several months at 0° to 4°C at dark.

Procedure:

- Wash cells by centrifugation (e.g. 200 x g, 5 min, 4°C) in 1X PBS (twice)

- Resuspend at 2 x 106 cells in 0.5 ml ice cold buffer.

- Gently vertex the cell suspension and slowly add by dropwise of 4.5 ml ice cold 70% ethanol into a 15 ml tube. Alternatively, gently vortex the cell suspension and slowly add by dropwise of an equal volume of cold absolute ethanol. Store at 4°C to-40°C for at least 2 hours (12-24 hours is best). Can be stored for up to 2 years before staining.

- Centrifuge cells at 200 x g, 10 min, 4°C.

- Resuspend the pellet in 3 ml cold 1X PBS and transfer the cell suspension to a 12 X 75 mm tube for staining.

- Centrifuge cells at 200 x g, 10 min, 4°C

- Resuspend cells in 300 - 500 µl PI/Triton X-100 staining solution and incubate 37°C for 15 minutes or for 30 min at 20°C.

- Acquire data on flow cytometer within 48 hours. May require 35 μm nylon mesh filtration to remove cell clumps or syringing to break up cell clumps.

References

- Shapiro, HM, Practical Flow Cytometry, second edition. New York: Alan R. Liss, Inc; 1988. 353 p.

- Darzynkiewicz, Z, Nucleic Acid Analysis. In: Robinson, JP, managing editor. Current Protocols in Cytometry. New York : J Wiley & Sons, Inc; 1997. Chapter 7.