蠟塊包埋組織切片之螢光染色

- 參考免疫組織染色之方法，完成組織之脫蠟、水化及Antigen Retrieval之步驟。

- Rinse slides 2~3 times with distilled water (盡量將殘蠟洗掉) and tap off excess water. Carefully wipe around specimen.

- Wet the bottom of black box 準備一個黑色的濕盒並於盒底擺放沾濕的擦手紙數張.(注意:可沾濕一點，以防實驗過程乾掉)

- Put the slides in the tray of the black box.

- Mark the specimen using DAKO pen.

- Incubator with primary antibody diluted with diluent (0.05M Tris-HCl pH 7.2, 0.1% Tween 20, 1% BSA, 15 mM NaN3; DAKO S3022) to cover specimen and cover the black box, then incubate at 37℃ for 2 hr.

- Wash the slide with 0.1%PBST for 5 minutes three times.

- Incubator with secondary antibody diluted with diluent to cover specimen and cover the black box, then incubate at room temperature for 1 hr.

- Wash the slide with 0.1%PBST for 5 minutes three times.

- Incubator with 4’6-diamidino-2-phenylindole (DAPI, 1ug/ml) diluted with diluent to cover specimen and cover the black box, then incubate at room temperature for 10 minutes.

- Wash the slide with 0.1%PBST for 4 minutes two times.

- Using 30 ul mounting gel for mounting and avoid the slips moving away.

- Next day, using nail polish to seal the interspace around the cover glass.

- 0.1% PBST Wash buffer 1 L

To make 1 L of 1x wash buffer:

100 ml 10x PBS

1 ml Tween 20

ddH2O to 1000 ml