## Standard Basic PCR protocol (by using GeneDireX HotStar PCR SuperMix 德怡科技)

For a PCR with 25 μl reaction volume, add the following solution to a 0.25 ml microtube.

( I ) Prepare the following reaction mixture on ice:

PCR supermix (GeneDireX, 德怡科技)    22μl

Forward Primer (10μM)                 1μl
Reverse Primer (10μM)                  1μl
DNA template (20-200ng)                1μl

( II ) Thermocyler Settings:

Step 1) Initial denaturation

A 5-minute initial denaturation step at 95°C.

Step 2) Subsequent denaturation

95°C (can be between 30 seconds and 1 minute).

Step 3) Annealing

Approximately 5°C below the calculated melting temperature of the primers (Tm). Usually 30 seconds to 1 minute.

Step 4) Extension

72°C (can be between 30 seconds and 1 minute).

Cycle number: repeat step 2) to step 4) by 25–35 PCR cycles.

Step 5) Extension

A 5-10 minute extra extension step at 72°C.

- Make sure to hold microtubes at 4°C after cycling to keep the reaction cold.

- The correct PCR product can be identified by its size (bp), using agarose gel electrophoresis.