## Report Summary
Multi Device Report Asia/Taipei
Report Created by:
| Name | Pingyu Wang
| Email | wang.pingyu@tzuchi.com.tw
| Account | wang.pingyu
| Report Date | 23 Jun 2025 09:42:10 CST
Search Parameters:
Configuration Name
| Device Types | All
| Serial Numbers | 21138087
User Names
| Check for High Alarms | No
| Check for Low Alarms | No
Roles
Trip Info
| Date Range | Config Since
| Data | Data Range: Between 01-May-2025 00:00:00 and 01-Jun-2025 00:00:00
| Data Includes Segmented Loggers | No

## Tabular Data - Temperature
Logger SN | Logger Name | Configuration Date | Logger Type | Trip Length | Max, °C | Min, °C | Mean, °C | STD, °C | MKT, °C | Configured by
21138087 | 21138087 | 2025-03-31 18:32:06.0 | CX405 | 30d18s | -74.89 | -79.55 | -77.27 | 1.60 | -77.28 | CX5000-21024783

## Tabular Data - Humidity
Logger SN | Logger Name | Configuration Date | Logger Type | Trip Length | Max, % | Min, % | Mean, % | STD, %
No Data Found

## Temperature Summary Statistics
Trip Info | Number of Loggers | Avg Length | Max Length | Min Length | Mean °C | Std Dev | Min °C | Max °C | MKT °C | Time Above | Time Below | Time WithIn Range
No Matching Value | 1 | 30d18s | 30d18s | 30d18s | -77.27 | 1.60 | -79.55 | -74.89 | -77.28 | 0 | 0 | 2h40m

## Humidity Summary Statistics
Trip Info | Number of Loggers | Avg Length | Max Length | Min Length | Mean % | Std Dev | Min % | Max % | Time Above | Time Below | Time WithIn Range
No Data Found

## Temperature Alarm Summary
Alarm Type | Number of Alarmed Loggers
No Data Found

## Humidity Alarm Summary
Alarm Type | Number of Alarmed Loggers
No Data Found

## Raw Data
Sensor Reading Time | 21138087 - 21138087, 01 Apr 2025 02:32:06 CST, Probe Temperature °C, 10m logging | Sensor Reading Time | 21138087 - 21138087, 01 Apr 2025 02:32:06 CST, Ambient Temperature °C, 10m logging
01 May 2025 00:02:07 CST | -75.65 | 01 May 2025 00:02:07 CST | 20.53
01 May 2025 00:12:07 CST | -77.12 | 01 May 2025 00:12:07 CST | 20.25
01 May 2025 00:22:07 CST | -79.55 | 01 May 2025 00:22:07 CST | 20.67
01 May 2025 00:32:07 CST | -76.78 | 01 May 2025 00:32:07 CST | 20.65
01 May 2025 00:42:07 CST | -75.43 | 01 May 2025 00:42:07 CST | 20.20
01 May 2025 00:52:07 CST | -78.80 | 01 May 2025 00:52:07 CST | 20.56
01 May 2025 01:02:07 CST | -78.17 | 01 May 2025 01:02:07 CST | 20.72
01 May 2025 01:12:07 CST | -74.93 | 01 May 2025 01:12:07 CST | 20.25
01 May 2025 01:22:07 CST | -77.92 | 01 May 2025 01:22:07 CST | 20.39
01 May 2025 01:32:07 CST | -79.39 | 01 May 2025 01:32:07 CST | 20.70
01 May 2025 01:42:07 CST | -75.94 | 01 May 2025 01:42:07 CST | 20.51
01 May 2025 01:52:07 CST | -76.78 | 01 May 2025 01:52:07 CST | 20.22
01 May 2025 02:02:07 CST | -79.34 | 01 May 2025 02:02:07 CST | 20.77
01 May 2025 02:12:07 CST | -77.04 | 01 May 2025 02:12:07 CST | 20.91
01 May 2025 02:22:07 CST | -74.89 | 01 May 2025 02:22:07 CST | 20.36
01 May 2025 02:32:07 CST | -78.51 | 01 May 2025 02:32:07 CST | 20.48